E-ADNI Biomarker Collection Procedure Manual

The methods described below will be utilized for the collection, aliquoting, storage, shipment, analysis and data reporting of all samples in this project. The methods only apply to the specific analyses included in the project, and not to general screening laboratory tests, or to genetic screening, including APOE genotyping.

Specific analyses in this project include:

- Cerebrospinal fluid (CSF): (-amyloid (A(42 and A(40), total tau and phosphorylated tau (P-tau181 and P-tau231) levels.

- Plasma: (-amyloid (A(42 and A(40)

- DNA analyses: APOE genotyping

Serum analyses are not included in the pilot study.

Procedures for collection of biological fluids

All samples will be collected in the morning (8-11 am) to avoid diurnal variations.

Cerebrospinal Fluid Collection

- Lumbar puncture is performed with the patient either lying down or sitting.

- CSF is obtained using a small gauge needle (e.g. 22 or 25 gauge Sprotte needle) to avoid headache.

- The first 1 ml of CSF must be discarded – 2 ml in case of bleeding at the puncture.

- The first portion of CSF is taken in one polypropylene tube (e.g. Sarstedt 12 ml vial Art-N° 57.513 with the appropriate cap  Sarstedt Art N° 65.793), to avoid possible gradients.

- The minimum volume is 8 ml (5 ml for this study plus 1 – 3  ml for standard tests, depending on the volume needed for this in the local lab).

- There is no need to take the CSF sample on ice.

- The sample is immediately sent (<30 min) to the local laboratory.

Blood and Plasma Collection

- Blood is collected in two or three different 7,5 ml or 10 ml tubes, containing EDTA as anti-coagulant.

- The samples are immediately sent (<30 min) to the local laboratory.

Procedures for processing, aliquotation, storage and shipment of samples

Cerebrospinal Fluid

- The CSF sample is mixed thoroughly (by hand), 1-3 ml (depending on the local routines) is taken off for standard tests (e.g. cell count, protein analyses).

- The sample is centrifuged in the original polypropylene tube at 2.000 x g for 10 min. at +4(C, to eliminate cells and other insoluble material.

- 1 x 1,0 ml aliquot of CSF is immediately sent, in an appropriate box at room temperature, to the biological PI centre in Munich (Germany), by courier mail (samples should not be sent before a weekend or holiday!).

- Remaining 4 ml are aliquoted in 8 x 0.5 ml portions and transferred to label plastic vials with a screw cap (vials and the appropriate caps will be provided to all sites by Dr. Katharina Bürger from Munich), and placed into labelled boxes. Please, specify the date of collection and any trouble you might have encountered during the procedure.

- These 8 aliquots will be frozen at - 80°C, and stored until all patients at the centre are included to be sent in one batch. The samples are then sent, on dry ice in an appropriate box to Munich by courier mail.

Blood and Plasma

- One blood sample in 10 ml vial is not centrifuged, and is used for DNA extraction and ApoE genotyping, provided by local laboratory.

- The other blood sample for plasma is mixed thoroughly, and then centrifuged at 2.000 x g for 10 min. at +4(C. The supernatant is pipetted off.

- One 1,0 ml aliquot of plasma is immediately sent, in an appropriate box at room temperature, to the biological PI centre in Göteborg (Sweden), by courier mail (sample should not be sent before a weekend or holyday!).

- 8 x 0,5 ml aliquot of plasma are transferred to labelled plastic vials with a screw cap (e.g. Nalgene Cryogenic 1.0 ml vials #5000-1012), and placed into labeled boxes. Please, specify the date of collection and any trouble you might have encountered during the procedure.

- These 8 aliquots of plasma are frozen at - 80°C, and stored until all patient at the centre are included to be sent in one batch. The samples are then sent, on dry ice in an appropriate box, to Göteborg by courier mail.

Procedures for analysis of samples

When received in the Laboratory, at the biological PI centres, the samples will be stored at -80(C until analysis. The freezer will be equipped with an alarm system for electrical power failure or temperature increase, with 24h access to technical staff at the hospital. Extra freezers are available for emergency use.

The aliquots sent by RT are frozen and stored at -80(C until the study is completed. Both the RT and the -80(C aliquot are analyzed side by side on the same plate.

A database will be created over the samples, to facilitate correct identification. The database will contain the following information: sample ID, centre, date of collection, date of receival, total initial volume for each sample type (CSF, plasma), freezer, and rack-box location in the freezer.  A bar code label will be used on the sample tracking form that is used by the technologist when processing samples.

For the analyses, established, validated ELISA methods are used.

For standardization of measurements between different runs, 3 internal controls of pooled CSF are run on each ELISA plate assayed. These control samples consists of:

1) pooled CSF with normal T-tau, P-tau and A(42

2) pooled CSF with high T-tau and P-tau but normal A(42

3) pooled CSF with low A(42, but normal T-tau and P-tau

The same type of internal control samples is used for plasma measurements.

Data from the analyses will be entered into a database also containing information about assay characteristics and internal control levels.

For APOE genotyping, DNA is extracted from whole blood using a standardized, automated method, and APOE genotyping is performed using minisequencing, which is an established, and published method. These analyses will be provided by local laboratories.

Naming convention of sample identification

General scheme –    XX_YYY_Z

XX – site number

Site numbers are according to the following list:

| No. | Site name | Country |
| --- | --- | --- |
| 01 | Copenhagen | Denmark |
| 02 | Stockholm | Sweden |
| 03 | Toulouse | France |
| 04 | Munich | Germany |
| 05 | Brescia | Italy |
| 06 | Rome | Italy |
| 07 | Amsterdam | Netherlands |

YYY – subject number

Cumulative number of a subject, to be appointed by site

- 001 = First subject

- 002 = Second subject

- etc.

Z – material

Following codes for different materials will be used:

- M – Magnetic Resonance Imaging Samples

- C – Cerebrospinal Fluid Samples

- P – Plasma samples

EXAMPLE: 07_002_C – this will be the CSF sample of the second patient from the Amsterdam site.

The CSF and blood (plasma) samples numbering doesn’t contain the diagnosis identification and sample number.

Please, make sure that ANY STRICTLY UNAVOIDABLE VARIATION from the lines of this protocol is accurately specified on a form attached to the samples!!!

Appendix 1 – Scheme of CSF samples handling

Appendix 2 – Scheme of blood and plasma samples handling

# Text boxes

4,0 ml of plasma aliquoted in:

8 vials x 0,5ml portions

stored locally at – 80°C

sent later on dry ice in one batch to

Göteborg (Sweden).

1,0 ml of plasma in 1,0 ml vial

shipped immediately at room temperature to Göteborg (Sweden).

Centrifuged

10 minutes

+4 °C

2000 x g

NOT CENTRIFUGED

DNA extraction and

ApoE genotyping

Both done locally

5,0 ml of blood

in one 7,5 or 10 ml EDTA vial

Sufficient amount of blood to obtain 5,0 ml of plasma after centrifuge

in two 7,5 or one 10 ml EDTA vial

≈ 8 ml of CSF

in a 12,0 ml vial*

Subject’s arm

Rest of 5 ml of CSF

Centrifuged

10 minutes

+4 °C

2000 x g

Remaining CSF

Used for local purposes

(not for Pilot E-ADNI)

4 ml of CSF aliquoted in:

8 vials* x 0,5ml portions

stored locally at – 80°C

sent later on dry ice in one batch to Munich (Germany)

1 – 2 ml of CSF

discarded

1,0ml of CSF in 1,0ml vial*

shipped immediately

at room temperature

to Munich (Germany)

Subject’s back

* The vials for CSF samples will be provided by Dr. Katharina Bürger  from Munich center (Germany)

≈ 1 – 3 ml of CSF

for routine lab tests

if needed

NOT CENTRIFUGED